	Subject:  

ANIMAL DISPOSAL

	SOP No.: A9

	
	Version No.: 1

	
	Issue Date: 11/14/12

	
	Effective Date: 11/21/12

	
	Revised Date(s): N/A

	
	Page 1 of 1 Pages

	
	Approved by: Andrea Fleig



Standard Operating Procedure (SOP) – ANIMAL DISPOSAL 

Dr. Reinhold Penner

Dr. Andrea Fleig

Queen’s Medical Center (QMC)

Queen’s Center for Biomedical Research (QCBR)

1. Purpose
This SOP describes the procedure for disposing of animal carcasses at QCBR.
2. Scope
This SOP will be used by all personnel that perform animal euthanasia at QCBR.
3. Definitions

4. Procedure

· Place animal carcass/parts in Ziploc bag.

· Label the bag with P.I. name (Dr. Andrea Fleig), date, location (University Tower 804), and number of carcasses.

· Seal the bag and put it on the bottom shelf of the small –20(C freezer in room 806. 

· Collect all the carcasses on the last Wednesday of every month and put them in a red biohazard bag.

· Have housekeeping take this bag when they pick up the biohazard waste.

