	Subject:  

POLYMERASE CHAIN REACTION (PCR)
	SOP No.:  CMB1

	
	Version No.:  1

	
	Issue Date:   02/18/2013

	
	Effective Date:  02/25/2013

	
	Revised Date(s):  N/A

	
	Page 1 of 1 Pages

	
	Approved by: Andrea Fleig



Standard Operating Procedure (SOP) – Polymerase Chain Reaction (PCR)
Dr. Reinhold Penner

Dr. Andrea Fleig

Queen’s Medical Center (QMC)

Queen’s Center for Biomedical Research (QCBR)

1. Purpose
This SOP describes the procedure for PCR.
2. Scope
This SOP will be used by research personnel.
3. Definitions

LCMS intranet URL = 10.95.1.8
4. Procedure

1. Follow the Molecular Cloning Manual, Chapter 8, Protocol 1:  The Basic Polymerase Chain Reaction, page 8.18.

2. Equipment used for PCR is the Biometra TGradient Thermocycler.  Read the manual before use.  
a. Only 0.2ml PCR tubes will fit in this cycler.  

b. There is also an Eppendorf and BioRad Thermocycler located in room 802 but these are not currently being used.
Important to Note:

· Always keep the polymerase and dNTPs on ice or in a frozen cooler while preparing reactions.

· Use sterile, filtered tips to pipette all reagents to reduce cross-contamination of PCRs and DNA samples.

· Prepare deoxynucleotides mix (dNTPs) into small working aliquots (5-10(l in small eppendorf tubes) to avoid multiple freeze-thaws.
· Create a folder to store your cycler programs.  Do not change or erase programs belonging to other people without asking permission first.

5.  Location of…

1. Molecular Cloning Manual – shelf in room 805.

2. Biometra TGradient Thermocycler manual posted on the LCMS intranet; short manual located in drawer below the equipment.

3. PCR Reagents (Taq, dNTPs, 10x buffer, etc) – Molecular biology freezers #21 and #22 in room 805.  
4. PCR thin-walled tubes and filtered tips – Cabinets in the hallway.

6.  Ordering Information
Vendor

Catalog No. 
Item








Stratagene
600670
PfuUltra II Fusion HS DNA Polymerase (40 reactions)
Stratagene
200415
Deoxynucleotide Mix, PCR grade

Invitrogen
12341-012
Accuprime Supermix II

