	Subject:  

RESTRICTION ENZYME DIGESTION
	SOP No.:  CMB6

	
	Version No.:  1

	
	Issue Date:   03/08/2013

	
	Effective Date:  03/15/2013

	
	Revised Date(s):  N/A

	
	Page 1 of 2 Pages

	
	Approved by: Andrea Fleig



Standard Operating Procedure (SOP) – Restriction Enzyme Digestion
Dr. Reinhold Penner

Dr. Andrea Fleig

Queen’s Medical Center (QMC)

Queen’s Center for Biomedical Research (QCBR)

1. Purpose
This SOP describes the procedure for digesting DNA using single or double restriction endonuclease reaction.
2. Scope
This SOP will be used by research personnel.
3. Definitions

 NEB = New England BioLabs
4. Procedure (from NEB website)
Optimizing Restriction Endonuclease Reactions

There are several key factors to consider when setting up a restriction endonuclease digest. Using the proper amounts of DNA, enzyme and buffer components in the correct reaction volume will allow you to achieve optimal digestion. By definition, 1 unit of restriction enzyme will completely digest 1 μg of substrate DNA in a 50 μl reaction in 60 minutes. This enzyme : DNA : reaction volume ratio can be used as a guide when designing reactions. However, most researchers follow the "typical" reaction conditions listed, where a 5–10 fold overdigestion is recommended to overcome variability in DNA source, quantity and purity. NEB offers the following tips to help you to achieve maximal success in your restriction endonuclease reactions.

A "Typical" Restriction Digest

	Restriction Enzyme
	10 units is sufficient, generally 1µl is used

	DNA
	1 µg

	10X NEBuffer
	5 µl (1X)

	BSA
	Add to a final concentration of 100 µg/ml (1X) if necessary

	Total Reaction Volume
	50 µl

	Incubation Time
	1 hour*

	Incubation Temperature
	Enzyme dependent


* Can be decreased by using a Time-Saver Qualified enzyme.

Enzyme

· Keep on ice when not in the freezer

· Should be the last component added to reaction

· Mix components by pipetting the reaction mixture up and down, or by "flicking" the reaction tube. Follow with a quick ("touch") spin-down in a microcentrifuge. Do not vortex the reaction.

· In general, we recommend 5–10 units of enzyme per µg DNA, and 10–20 units for genomic DNA in a 1 hour digest.

· NEB has introduced a line of High-Fidelity (HF™) enzymes that provide added flexibility to reaction setup.

DNA

· Should be free of contaminants such as phenol, chloroform, alcohol, EDTA, detergents or excessive salts. Extra wash steps during purification are recommended.

· Methylation of DNA can inhibit digestion with certain enzymes. For more information about methylation, Effect of CpG Methylation on Restriction Enzyme Cleavage and Dam and Dcm Methylases of E.coli
Buffer

· Use at a 1X concentration

· If required, add BSA to a final concentration of 100 µg/ml (1:100 dilution)

· Restriction enzymes that do not require BSA for optimal activity are not adversely affected if BSA is present in the reaction

Reaction Volume 
· A 50 µl reaction volume is recommended for digestion of 1 µg of substrate

· Enzyme volume should not exceed 10% of the total reaction volume to prevent star activity due to excess glycerol

· Additives in the restriction enzyme storage buffer (e.g., glycerol, salt) as well as contaminants found in the substrate solution (e.g., salt, EDTA, or alcohol) can be problematic in smaller reaction volumes. The following guidelines can be used for techniques that require smaller reaction volumes. 

	
	Restriction Enzyme*
	DNA
	10X BEBuffer
	100X BSA** (if needed)

	10 µl rnx***
	1 unit
	0.1 µg
	1 µl
	0.1 µl

	25 µl rnx
	5 units
	0.5 µg
	2.5 µl
	0.25 µl

	50 µl rnx
	10 units
	1 µg
	5 µl
	0.5 µl


· * Restriction Enzymes can be diluted using the recommended diluent buffer when smaller amounts are needed.
** BSA can be diluted in 1X buffer.
*** 10 µl rxns should not be incubated for longer than 1 hour to avoid evaporation. 
( We (LCMS) typically use a reaction volume of 12.5 – 20 µl.

Incubation Time

· Incubation time is typically 1 hour

· Can often be decreased by using an excess of enzyme, or by using one of our Time-Saver Qualified enzymes.

· It is possible, with many enzymes, to use fewer units and digest for up to 16 hours. For more information, visit Extended Digests with Restriction Endonucleases.

Stopping a Reaction

If no further manipulation of DNA is required:

· Terminate with a stop solution (10 µl per 50 µl rxn) [50% glycerol, 50 mM EDTA (pH 8.0), and 0.05% bromophenol blue] (e.g., NEB #B7021)

When further manipulation of DNA is required:

· Heat inactivation can be used

· Remove enzyme by using a spin column or phenol/chloroform extraction

Storage

· Storage at -20°C is recommended for most restriction enzymes. For a few enzymes, storage at-70°C is recommended for periods longer than 30 days. Please refer to the enzyme's technical data sheet or catalog entry for storage information.

· 10X NEBuffers and concentrated BSA should also be stored at -20°C

· BSA should not be mixed directly into NEBuffers and then frozen because the BSA may precipitate

Stability

· All enzymes are assayed for activity every 4 months. The expiration date is found on the label.

· Exposure to temperatures above -20°C should be minimized whenever possible

Control Reactions

If you are having difficulty cleaving your DNA substrate, we recommend the following control reactions:

· Control DNA (DNA with multiple known sites for the enzyme, e.g. lambda or adenovirus-2 DNA) with restriction enzyme to test enzyme viability

· If the control DNA is cleaved and the experimental DNA resists cleavage, the two DNAs can be mixed to determine if an inhibitor is present in the experimental sample. If an inhibitor (often salt, EDTA or phenol) is present, the control DNA will not cut after mixing.

Double Digests

Digesting a DNA substrate with two restriction endonucleases simultaneously (double digestion) is a common timesaving procedure. Selecting the best NEBuffer to provide reaction conditions that optimize enzyme activity as well as avoid star activity associated with some enzymes is an important consideration. Each enzyme is supplied with its optimal NEBuffer to ensure 100% activity. NEBuffer compositions are listed on buffer pages. The Activity Chart for Restriction Enzymes rates the percentage activity of each restriction endonuclease in the four standard NEBuffers and NEBuffer EcoRI. For some enzymes, a master mix format is available. Master Mixes can be used together in a double digest. See below for details.
Please use NEB Double Digest Finder to perform a double digest calculation.

Suggested NEBuffers for Double Digestion


(See chart: https://www.neb.com/tools-and-resources/usage-guidelines/double-digests)
Setting up a Double Digestion

· Choose an NEBuffer that results in the most activity for both enzymes. If star activity is a concern, consider using one of our High Fidelity (HF) enzymes. 

· Set up reaction according to recommended conditions. The final concentration of glycerol in any reaction should be less than 5% to minimize the possibility of star activity. For example, in a 50 µl reaction, the total amount of enzyme added should not exceed 5 µl. 

· Incubate at recommended temperature. Overnight double digests should be avoided due to the possibility of star activity.

·  If two different incubation temperatures are necessary, choose the optimal reaction buffer and set up reaction accordingly. Add the first enzyme and incubate at the desired temperature, Then, heat kill the first enzyme, add the second enzyme and incubate at the recommended temperature. 

· Depending on an enzyme's activity rating in a non-optimal NEBuffer, the number of units or incubation time may be adjusted to compensate for the slower rate of cleavage. 

Setting up a Double Digestion with a Unique Buffer (designated “U”)

· Our buffer system has been streamlined, leaving three enzymes that have unique buffers: EcoRI (NEB #B0101) (included in this chart and the Restriction Enzyme Performance Chart), SspI (NEB #B0132) (same buffer composition as EcoRI) and DpnII (NEB #B0543). In most cases, DpnII requires a sequential digest. 

Setting up a Sequential Digestion

· Set up a reaction using the restriction endonuclease that has the lowest salt concentration in its recommended buffer and incubate to completion. 

· Adjust the salt concentration of the reaction (using a small volume of a concentrated salt solution) to approximate the reaction conditions of the second restriction endonuclease. 

· Add the second enzyme and incubate to complete the second reaction. 

· Alternatively, a spin column can be used to isolate the DNA prior to the second reaction. 

5.  Location of…

1. Restriction enzymes and 10x NEBuffers – freezer #21, molecular biology room 805
2. Molecular biology 37°C incubator – room 802
6.  Ordering Information

Vendor


Catalog No. 
Item







New England BioLabs
R0101S

EcoRI (10,000 units/ml)
