	Subject:  

Sterile Technique and Hood Work


	SOP No.: G4

	
	Version No.: 2

	
	Original Version Date: 10/20/2010

	
	Revised Date: 01/31/2012

	
	Page 2 of 2 Pages

	
	Approved by: Andrea Fleig



Standard Operating Procedure (SOP) – 

Sterile Technique and Hood Work

Dr. Andrea Fleig

Dr. Reinhold Penner

Queen’s Center for Biomedical Research (QCBR)

Queen’s Medical Center (QMC)

1. Purpose
This SOP describes the procedure for using the sterile technique while working in the hood and the clean-up procedure after using the hood.

2. Scope
This SOP will be used by all those that use the hood.

3. Procedure

PROCEDURE FOR STERILE TECHNIQUE:

1. Always wear gloves.

2. Spray glove-covered hands with 90% ethanol before going into the hood and before going into the incubator.

3. Wipe the inside of the hood with 90% ethanol.

4. Wipe media bottles with 90% ethanol before placing them in the hood.

5. When doing work in the hood, avoid moving hands over any uncovered bottles, flasks, tubes or Petri dishes.

6. Flame Pasteur pipets and tweezers before using them. (Tissue culture room #1)
7. Always clean up any spills/drips promptly with 90% ethanol.

8. Put used Pasteur pipets in the designated container with 10% bleach solution; let them soak for at least 10 minutes. 
9. Dispose of waste in proper receptacle. (See SOP #G3)

CLEAN-UP PROCEDURE AFTER USING THE HOOD:

This is a list of the clean-up procedure that hood users (i.e. you) are responsible for (not the Research Associates). The basic principle here is to leave things in a manner in which you would like to have found them.

1. Turn off the gas.
2. Put everything back where they belong (media, pipettors, hematocytometer, counter, calculator, pens, etc.).
3. Cover: 
a. Pasteur pipet container

b. Pipette tip boxes

c. Pasteur pipet bleach solution container (Tissue culture room #1)

d. Flamer (with foil) (Tissue culture room #1)
e. Biohazard waste receptacles
4. Throw trash in proper receptacle (see SOP #G3). If the red biohazard bag is full, remove it, secure the top with a twist-tie and place it in the biohazard waste pick-up area. Place a new red biohazard bag liner in the receptacle.
5. Wipe the inside of the hood with 90% ethanol.
6. Run 10% bleach solution through vacuum hose.

7. Clean up the general work area of loose papers, kimwipes, etc.

8. Replenish supplies if they are low (when there is one bag or container left), such as serological pipettes, tips, tubes, etc. 

9. Check to see if anyone else will be using the hood after you.

· If no ( Pull the sash down, turn off the blower and turn the UV light on.

· If yes ( Leave the hood on.

10. Turn off water bath (if no one else will be using it).

11. Once weekly, the assigned person on rotation will:

a) Rinse Pasteur pipets with tap water 3 times and dispose in Glass Disposal Box. Place ~1 liter of 10% bleach in the container.
b) Clean the biohazard liquid waste collection flask. Decontaminate the flask with 10% bleach for 10 minutes and rinse with tap water.  Place ~300ml of 10% bleach in the flask.

