	Subject:  

Labeling of Solutions and Chemicals


	SOP No.:  G7

	
	Version No.: 1

	
	Original Version Date: 06/21/2010

	
	Revised Date: N/A

	
	Page 1 of 1 Pages

	
	Approved by: Andrea Fleig



Standard Operating Procedure (SOP) – 

Labeling of Solutions and Chemicals
Dr. Andrea Fleig

Dr. Reinhold Penner

Queen’s Center for Biomedical Research (QCBR)

Queen’s Medical Center (QMC)

1. Purpose
This SOP describes the procedure for the labeling of solutions and chemicals.  It is extremely important for lab safety and accuracy to properly and completely label all solutions and chemicals.

2. Scope
This SOP will be used by every lab member.

3. Procedure

· For purchased chemicals, label the outside of the container with:

· Date received and your initials
· Date opened and your initials
· For every solution you prepare, label the bottle with:

· Identity of the contents with the specific name. No common names or acronyms. (For example, “bleach” must be labeled Sodium hypochlorite)

· Concentration

· Your initials

· Date of preparation

· pH (if known)

· osmolarity (if known)

· Hazard alerts (if applicable)

· Label clearly and use permanent ink.

· Do not place labels on top of one another.

· Never use an unlabeled chemical or solution. Notify a research associate for disposal.


